ROYAL CONSTRUCTIONS PTY LTD

Custom Home Builders · Accredited Oran Park Builder · NSW Builders Licence

1300 832 355  ·  royalconstructions.com.au  ·  ABN [insert]

FIXED-PRICE TENDER

Compliant with NCC 2025 Volume Two — Class 1 & 10 Buildings

[DD Month YYYY]

| Client(s) | [Client full name(s)] |
| --- | --- |
| Client Address | [Postal address] |
| Email / Phone | [Email] · [Phone] |
| Build Address | [Lot, Street, Suburb, NSW, Postcode] |
| Lot Details | Lot [#] DP [#] |
| Build Description | [e.g., Single storey 4-bedroom custom home with granny flat] |
| Tender Reference | RC-T-[YYYY]-[###] |

Dear [Client first name],

Thank you for the opportunity to tender for the construction of your new home. We have pleasure in presenting this fixed-price tender, prepared from the final plans completed by Royal Constructions.

Below is an itemised list of inclusions and the conditions on which this tender has been prepared. Each item references the relevant building code or Australian Standard so you have full visibility on the compliance basis of every inclusion.

Should you wish to discuss any item, please contact me directly on 0433 647 355. We look forward to delivering you a high standard of workmanship and personal service throughout the build.

TOTAL TENDER PRICE (INC GST) $[Amount] ([Write amount in words] Dollars Inclusive of GST)

This tender remains firm for 30 days from the date above, subject to acceptance and $10,000 tender deposit (refundable against contract signing).

ⓘ  COMPLIANCE BASIS — This tender has been prepared in accordance with the National Construction Code (NCC) 2025 Volume Two — Acceptable Construction for Class 1 (residential) and Class 10 (non-habitable) buildings, and the relevant Australian Standards (AS / AS-NZS) referenced against each inclusion below.

# Section 1 — Fixed-Price Site Cost

| # | Inclusion / Item | Status |
| --- | --- | --- |
| 1.1 | Insurances & Home Warranty (HBCF) 6-year NSW Home Warranty Insurance. Public Liability & Workers Compensation maintained throughout construction. | Included |
| 1.2 | Design & Drawings Architectural drawings, working plans, and construction documentation. | Included |
| 1.3 | Surveying — Peg-Out & Formwork Initial peg-out survey and formwork survey by licensed surveyor. | Included |
| 1.4 | Engineering Structural design for standard slab construction. Engineer-certified. | Included |
| 1.5 | Water Authority Permit Plumbing and Drainage Audit Inspection — applicable fees by owner. | Excluded |
| 1.6 | Temporary Services Site fencing, sediment control, construction signage, and site toilet for the duration of works. | Included |
| 1.7 | Demolition If applicable to KDR / existing structures — priced separately. | Not Applicable |
| 1.8 | Tree Removal If applicable — priced separately per arborist quote. | Not Applicable |
| 1.9 | Structural Steel Supply and install of structural steel beams and lintels per engineer's detail. | Included |
| 1.10 | Site Preparation & Excavation Site cut/fill, bulk and detailed excavation, machine hire, and preparation for slab construction. | Included with provisions |
| 1.11 | Concrete — Pump Hire Concrete pump hire for slab pour. | Included |
| 1.12 | Slab — Piering & Pour Piering allowances up to 65 lineal metres at H-class slab with 32 MPa concrete piers and F82 mesh. Waffle pod slab system, 100mm concrete to top of pods per engineering. Additional piering charged at $100/lineal metre. Drop edge beam not included. | Included with provisions |
| 1.13 | Sewer Connection Connection to main sewer line. | Included |
| 1.14 | Electrical — Underground Mains Single-phase underground mains to meter box. Authority fees and Telstra conduit run-in included. Electrical run allowance — 12 lineal metres. | Included with provisions |
| 1.15 | Water Service Underground water service from main to dwelling. | Included with provisions |
| 1.16 | Gas Connection Gas connection from dwelling to mains arranged by owner. Builder can assist with meter order at lock-up stage. | By Owner |
| 1.17 | Stormwater Drainage Stormwater connection per Council requirements. | Included |

# Section 2 — Building

| # | Inclusion / Item | Status |
| --- | --- | --- |
| 2.1 | Frames & Trusses H2-treated prefabricated timber wall frames, engineered timber joist system, particle board flooring, timber roof trusses, fibre cement eave linings. All labour to erect frames and roof framing. | Included |
| 2.2 | Ceiling Heights Ground floor: 2.55m standard. First floor: 2.4m standard. Higher ceilings priced as variation. | Included |
| 2.3 | Roofing Concrete or terracotta tile roofing with sarking under tiles per BASIX. Colours selected by owner from supplier range. | Included |
| 2.4 | External Cladding / Brickwork Face brick external walls — common bricks selected from builder's range. Render and feature cladding per facade design. | Included |
| 2.5 | Windows & External Doors Aluminium-framed windows and sliding doors per plan. Solid timber or composite entry door. | Included |
| 2.6 | Garage Door Sectional panel-lift garage door, single colour from supplier range. Remote control + 2 handsets. | Included |
| 2.7 | Insulation R2.0 wall insulation, R3.5 ceiling insulation per BASIX. | Included |
| 2.8 | Plasterboard & Internal Linings 10mm standard plasterboard to walls and ceilings. Cornice, skirting, and architraves from builder's standard range. | Included |
| 2.9 | Internal Doors & Hardware Hollow-core internal doors with builder's standard handles and hinges. Soft-close to nominated doors. | Included |
| 2.10 | Stairs (if applicable) Internal stairs with timber treads, painted MDF risers, timber handrail and balustrade per code. | Included |
| 2.11 | Plumbing — Fit-Out All hot/cold/stack rough-in and final fixture connection. Plumbing fixtures from Inspire Bathware upgrade range. | Included |
| 2.12 | Electrical — Fit-Out Internal wiring rough-in, light fitting installation, smoke alarms (mains powered + battery backup), data points per plan. | Included |
| 2.13 | Hot Water System Continuous-flow gas or electric hot water system per BASIX. Brand from builder's range. | Included |
| 2.14 | Kitchen Custom kitchen joinery, 20mm stone benchtop, undermount stainless-steel single-bowl sink, chrome gooseneck mixer. 2.4m overhead cabinets with bulkhead. Soft-close hinges. Cutlery tray to top drawer. Stainless-steel oven, cooktop, and slide-out vented rangehood (ducted to facade). | Included |
| 2.15 | Splashback Tiled splashback from builder's range, or glass upgrade as variation. | Included |
| 2.16 | Walk-In Pantry Open shelving, 40mm stone benchtop, power point for coffee nook, stainless-steel sink, chrome mixer, provision for dishwasher. | Included |
| 2.17 | Bathroom & Ensuite Fixtures / Tapware All tapware and fixtures from Inspire Bathware — upgrade range. | Included |
| 2.18 | Alfresco / Pergola 600x600 floor tiles to alfresco. Pergola structure per plan. | Included |
| 2.19 | Air Conditioning Ducted air conditioning system — 4 zones. Reverse cycle. | Included |
| 2.20 | Flyscreens Flyscreens to all windows and sliding doors. | Included |
| 2.21 | Main Bathroom, Ensuite & Powder Room Floor-to-ceiling tiles to all wet areas. Feature wall tile in main bath and ensuite. Shower niches + 1 bath niche. Frameless shower screens. Double shower heads to ensuite. Double vanity to ensuite. Wall-mounted vanities + suitable mirror. IXL heat/fan/light combo. Chrome shower head with flick mixer. Towel rails + toilet roll holders. | Included |
| 2.22 | Built-In Wardrobes Standard built-in wardrobes per plan with mirrored sliding doors and high cupboard space. | Included |
| 2.23 | Paint Colours Owner selects from Taubmans colour chart (excluding deep-base colours). | Included |
| 2.24 | Flooring 600x1200 floor tiles to all common ground floor areas. Carpet to upstairs bedrooms. Wet area floor tiles 300x600. Shower walls 600x600. Front porch 300x300. Skirting tile to laundry. Provisional tile rate: $30/m². | Included with provisions |
| 2.25 | Painting 1 coat undercoat + 2 coats final paint to walls. 2 coats white to ceilings. Gloss to doors and skirting in main colour. | Included |
| 2.26 | Driveway Coloured plain concrete driveway to Council requirements — up to 25m². Additional paths and concreting excluded. | Included with provisions |
| 2.27 | Laundry Polyurethane or laminate base cabinets with 20mm stone benchtop, drop-in tub (up to 2.4 LM). Soft-close hinges. Chrome flick mixer. Provision for washing machine + dryer per plan. | Included |
| 2.28 | Fencing Colorbond perimeter fencing per plan. | Included |
| 2.29 | Clothesline & Letterbox Installed by Royal Constructions — supplied by owner. | By Owner |

# Section 3 — Council & Statutory Requirements

| # | Inclusion / Item | Status |
| --- | --- | --- |
| 3.1 | Council Fees & DA / CDC Development consent fees, council fees, bonds, inspection fees, Long Service Levy, and Section 94 contributions. CDC, Construction Certificate, and Occupation Certificate included. BAL Geotech / Acoustic reports NOT included. | Included with provisions |
| 3.2 | Sediment Control & Trade Waste Sediment control fencing and trade waste receptacle per EPA requirements. | Included |
| 3.3 | Electrical Compliance All electrical work compliant with the current AS/NZS Wiring Rules. | Included |
| 3.4 | Roof Guardrail Temporary roof guardrail per WorkCover Authority requirements. | Included |
| 3.5 | BASIX Compliance Wall insulation R2.0, ceiling insulation R3.5. Sarking under tiles. Roof tile colours selected by owner. BASIX Certificate of Completion provided at OC. | Included |
| 3.6 | Turf & Basic Landscape Turf to front and rear. Retaining walls and feature landscaping excluded. | Included with provisions |
| 3.7 | Statutory Levies Long Service Levy and road opening fees paid to Council. | Included |
| 3.8 | Certificates Construction Certificate (CC) and Occupation Certificate (OC) provided. | Included |
| 3.9 | Handover & Clean Set of 2 keys provided. Construction rubbish cleared. Interior and exterior professionally cleaned at handover. | Included |

# Section 4 — Payment Schedule

Progress payments are payable within 5 business days of each stage claim being issued, in accordance with the building contract.

| # | Stage | % of Contract | Trigger |
| --- | --- | --- | --- |
| 1 | Deposit (on contract signing) | 5% | Contract signed |
| 2 | Base Stage (slab complete) | 15% | Slab poured + inspection |
| 3 | Frame Stage (frame complete) | 20% | Frame complete + inspection |
| 4 | Lock-Up Stage | 25% | Bricks + roof + windows + ext doors |
| 5 | Fixing Stage | 25% | Gyprock + waterproofing + internal fix |
| 6 | Practical Completion (OC issued) | 10% | OC issued |
|  | TOTAL | 100% |  |

# Section 5 — Exclusions (Not in This Tender)

The following items are NOT included in this tender. Any of these can be priced as a separate variation if required:

•  Landscaping beyond turf — gardens, decorative paths, paved areas, retaining walls

•  Pool, spa, water features

•  Fencing beyond Colorbond perimeter (e.g., decorative front fencing)

•  Custom curtains, blinds, window furnishings

•  Furniture, white goods, and appliances beyond PC allowance

•  Solar, battery, or EV charger installation

•  Smart home automation beyond standard door locks

•  Site costs beyond standard — additional fill, rock excavation, retaining walls

•  BAL Geotech, Acoustic, or Bushfire reports (unless specifically priced)

•  Variations to council-approved plans (priced as variations)

•  Demolition, tree removal, asbestos works (unless specifically priced)

•  Owner-supplied items installation labour (beyond clothesline/letterbox)

# Section 6 — General Terms & Conditions

| Tender Validity | This tender remains firm for 30 days from the date of issue. Beyond this period prices are subject to review based on material and trade rate changes. |
| --- | --- |
| Tender Deposit | A $10,000 tender deposit is payable upon acceptance to secure pricing and commence pre-construction administration. Refundable in full against the contract deposit at contract signing. Non-refundable if the client withdraws without cause. |
| Contract Form | The successful tender will be formalised under Master Builders standard residential building contract. |
| Compliance Basis | All works in this tender will comply with the National Construction Code (NCC) 2025 Volume Two — Class 1 and Class 10 Acceptable Construction Provisions, the BCA Performance Requirements, and the relevant Australian Standards referenced in each section. Where conflict arises between drawings and Code, the Code prevails. |
| Variations | Any change to scope after contract signing will be raised as a written variation under the Royal Constructions Variation Register. Variations are signed and approved in writing before any work proceeds. A $250 administration fee applies per variation, in addition to the cost of the varied works. |
| Provisional Sum / PC Allowances | Where items are noted as 'with provisions' or carry a PC allowance, actual costs may vary. Any variance between PC allowance and actual cost is added to or deducted from the contract sum at the final claim. |
| Programme | Indicative build programme: approximately 6–9 months from slab pour to handover, subject to weather, council inspections, and supply chain. Programme delays outside builder's control do not constitute breach of contract. |
| Insurances | Royal Constructions maintains HBCF Home Warranty Insurance (6 years structural, 2 years non-structural), Public Liability, and Workers Compensation throughout construction. |
| Defects Liability Period | Statutory minor defects rectification period: 90 days from handover. Major structural defects: 6 years per NSW Home Building Act. |
| Site Conditions | This tender assumes standard site conditions. Should soil testing, survey, or excavation reveal conditions requiring additional works (rock, fill, contamination, reactive clay above H1), these are priced as variations. |
| GST | All amounts in this tender are inclusive of GST unless otherwise stated. |
| Ownership of Plans & Documentation | All plans, specifications, and documentation produced by Royal Constructions remain the intellectual property of Royal Constructions Pty Ltd. |
| Confidentiality | Pricing and commercial terms in this tender are confidential and intended for the named client only. |

# Section 7 — Client Acceptance

By signing below, the client(s) confirm acceptance of this fixed-price tender, including all inclusions, exclusions, payment schedule, compliance basis, and terms & conditions as set out in this document.

On acceptance, a $10,000 tender deposit is payable to lock pricing and proceed to contract preparation.

| CLIENT 1 Signature: ____________________________ Name: ____________________________ Date: ____________________________ | CLIENT 2 (if applicable) Signature: ____________________________ Name: ____________________________ Date: ____________________________ |
| --- | --- |
| ROYAL CONSTRUCTIONS PTY LTD Signed by: Gurpinder Uppal · Director Signature: ____________________________ Date: ____________ |

Please return one signed copy by email or in person to commence the contract process. A countersigned copy will be returned to you for your records.

Thank you for considering Royal Constructions. We look forward to building your home.